Everlast Epoxy is dedicated to creating and providing the healthiest, most durable and easiest-to-maintain floors and walls for commercial facilities.

Everlast® Integral Cove & Wall offers a uniform, resin-rich, troweled-on system that forms a physical bond between the material and the surface, permanently affixing them together. The end result? An unbroken, continuous surface that is non-porous, waterproof, and self-containing. Walls and floors are also chemically resistant against urine, strong detergents, and disinfectants, helping curb bacterial and fungal growth and keeping your shower looking newer longer.

When specifying Everlast Integral Cove & Wall we recommend also specifying Everlast Industrial Floor to address the slip factor—showers get wet, and it can be hard to prevent slips and falls. Everlast Industrial Floor which has a marble chip texture that leaves surfaces pebbled, coarse and ribbed but, still, non-abrasive surface. This finish helps prevent slips while keeping users comfortable and clean.

Everlast Integral Cove & Wall is easy to install. It can be done by most flooring contractors or motivated do-it-yourselfers, just follow the simple directions available at www.everlastepoxy.com/how-to. We also have a large network of dealers who are certified installers so you can have a professional epoxy flooring installation throughout the continental USA.

But don't just take our word for it, hear from our customers at:

www.youtube.com/playlist?list=PLUzAbcqEZwCsjWb4oanAbAYlinC-exQ2a

Contact us: Everlast Epoxy Systems, Inc.

Write or Visit: 803 S Garden Street Ste 301, Columbia, TN 38401

Call: (615) 994-1510

Fax: (615) 994-1512

Email: care@everlastepoxy.com

Schedule an AIA approved continuing education course:

www.everlastepoxy.com/architect-designer-specifications/

Or visit us online at: www.everlastepoxy.com

SECTION 09 77 30 - Sanitary Wall and Ceiling Finishes

Everlast® Integral Cove & Wall

Part 1 General

  - SECTION INCLUDES

- Resinous Marble-Chip and Epoxy Resin Rich Wall Coating.

- Integral Cove Base.

- RELATED SECTIONS:

- Other Division 9 sections for floor and/or wall finishes are related to this section but not the work of this section

- Division 3 - Concrete; not the work of this section

- Division 7 - Thermal and Moisture Protection; not the work of this section

- Division 22 - Plumbing; not the work of this section

Specifier Note: If tile grinding is needed for substrate preparation and the project is a build-out commencing while the HVAC system is running, specify construction filters for use during the preparation phase.

- Division 23 - Heating, Ventilating, and Air Conditioning (HVAC); not the work of this section

  - SUBMITTALS

Specifier Note: Revise paragraph below to suit project requirements.

- Submit under provisions of Section 01300.

- Product Data: Manufacturer's data sheets on each product to be used, including:

  - Preparation instructions and recommendations.

  - Storage and handling requirements and recommendations.

  - Installation methods.

- Selection Samples: For each finish product specified, submit two samples 2 by 3 inches in size

illustrating color, chip size and variation, and matrix color.

- Verification Samples: For each finish product specified, submit two samples 2 by 3 inches in size in color, chip size and variation, and matrix color, representing actual product scheduled.

- Closeout Submittals: Submit the including:

  - Maintenance Guidelines: Include the Everlast Epoxy Floor Cleaning Procedures available at www.everlastepoxy.com/clean.

  - Warranty: Warranty documents specified herein

  - QUALITY ASSURANCE

    - No request for substitution shall be considered that would change the specific type of wall system specified i.e. Everlast® Integral Cove & Wall which is a resinous marble-chip and epoxy resin rich wall coating. Equivalent materials of other manufacturers may be substituted only with approval of Architect. Request for substitution will only be considered if submitted 10 days prior to bid date. The request will be subject to product specification requirements and the manufacturer’s warranty described in this section.

    - System shall be in compliance with requirements of United States Department of Agriculture (USDA), U.S. Food and Drug Administration (FDA), and the local Health Department.

    - System shall not exceed the Volatile Organic Compound (VOC) limits per the Architectural Coating Rules set by the State of California.

    - Installer Qualifications: Installation shall be performed by an applicator who is certified in writing by the manufacturer. The Contractor shall furnish a certified installer certificate.

    - Pre-Application Meeting: Convene a pre-application meeting before the start of application of the wall coating system to verify project requirements, substrate conditions, work area protection, manufacturer’s installation instructions and the cleaning and maintenance guidelines for the finished project. Require attendance of parties directly affecting the work of this section, including the Contractor and Applicator.

  - DELIVERY, STORAGE, AND HANDLING

- Deliver materials to site in manufacturer's original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

- Store materials in accordance with the manufacturer's instructions.

  - Store materials in dry, enclosed area with adequate protection from moisture.

  - Keep containers sealed until ready for use.

- Storage Temperature: Store between 65° F and 90° F

  - PROJECT CONDITIONS

- Roof shall be completed and building enclosed prior to flooring and wall coating commencement.

- Ensure adequate ventilation and air flow.

- Maintain substrate temperature range of between 60° F and 85° F 48 hours before, during, and 72 hours after installation of coating.

- Maintain constant ambient room temperature of plus or minus 15ºF with a minimum temperature of 60ºF and maximum temperature of 90ºF. Maintain constant ambient room temperature for 48 hours before, during, and 72 hours after installation, or until cured.

- Ventilate area where wall coatings are being installed. Post and enforce NO SMOKING or OPEN FLAME signs until coating has cured.

- Provide permanent lighting or, if permanent lighting is not in place, simulate permanent lighting conditions during resinous wall coating application.

- Prohibit traffic from area where resinous wall coating is being installed and for not less than 24 hours after application.

  - WARRANTY

- Manufacturer shall furnish a written warranty covering the material for a period of 20 years from date of installation, and the applicator shall provide a written warranty covering the workmanship for a period of 2 years from date of installation.

Part 2 Products

  - MANUFACTURERS

- Manufacturer: Everlast Epoxy Systems, Inc., which is located at: 803 S Garden Street Ste 301; Columbia, TN 38401; Tel: 615-994-1510; Fax: 615-994-1512; Email: care@everlastepoxy.com; Web: www.everlastepoxy.com

- Substitutions: Not permitted.

  - MATERIALS

Specifier Note: Input color selection below, select color at www.everlastepoxy.com/bright-attractive-colors

- EEFL007 Everlast Integral Cove & Wall A three-component, integral troweled wall, base, and cove consisting of an Everlast Epoxy proprietary resin and hardener, silica quartz and marble-chip aggregates as used in the floor, and finely graded silica aggregate.

- Color [As selected by Architect from manufacturer's full range] [As indicated by manufacturer's product designation] [Match Architect's sample] <Insert description>.

- System shall comply with the USDA guidelines for use in federally inspected facilities.

- EEFL203 Everlast Stay-Clean Sealant UVR

- EEVF-200 Everlast Verti Fill for use in mixing with Everlast Integral Cove & Wall to make a more viscous material to create a primer for the wall.

- EE380F Everlast Mini Fibers for use in mixing with Everlast Integral Cove & Wall resins to keep the material from sagging while it cures.

Part 3 Execution

  - EXAMINATION

    - Do not begin installation until substrates have been properly prepared or if the site conditions are outside of the following environmental ranges.

- All test results shall be documented and retained. Beginning work constitutes acceptance of substrate and environmental conditions.

- Storage Temperature: Materials are to be stored at a temperature between 65° F and 90° F.

- Maintain minimum wall surface temperature between 60ºand 85ºF.

- The substrate must be at least 5˚F (3˚C) above the Dew Point to reduce the risk of condensation, which may lead to adhesion failure or “blushing” on the epoxy finish. Be aware that the substrate temperature may be lower than the ambient temperature.

- Maintain constant ambient room temperature of plus or minus 15ºF with a minimum temperature of 60ºF and maximum temperature of 90ºF. Maintain constant ambient room temperature for 48 hours before, during and after installation, or until cured. Do not apply when the temperature is below 60ºF or while ambient and temperatures are rising.

- Relative humidity above 30% and below 75% for a minimum of 48 hours before, during, and after installation, or until cured. Surface temperature must be 5ºF above dew point.

- Verify that substrate is ready to receive work, and that wall surface is clean, dry, and free of laitance, glaze, efflorescence, curing compounds, form-release agents, dust, dirt, grease, oil, and other incompatible contaminants.

- Concrete hydrostatic, capillary or moisture pressure must be no greater than 3.0 lbs./1000 sf/24 hours.

Substrates in contact with the ground must have a properly installed, functioning and effective vapor barrier to help prevent potential problems resulting from hydrostatic, capillary, or moisture vapor emission. Concrete must contain less than 3% moisture when tested per ASTM D1864.

- Avoid excessive dust and airborne contaminates. Protect work areas from excessive dust and airborne contaminates during coating application.

- Utilities, including electricity, water, HVAC, permanent lighting, and a jobsite trash dumpster to be supplied by General Contractor.

    - Report conditions contrary to contract requirements that would prevent a proper installation and do not proceed with the installation until unsatisfactory conditions have been corrected.

  - PREPARATION

    - Substrate Requirements:

Specifier Note: Many of these will not apply to every project.

- The substrate shall be clean, dry and sound. Remove dust, laitance, grease, curing compounds, waxes, foreign particles and any previously applied potentially incompatible coatings by scarifying, chipping, wire brushing, or pressure washing. If pressure washing or any other liquid method is used for preparation, substrate should be fully rinsed and allowed to completely dry. Acid etching is not allowed.

- Gypsum Board: All joints and interior angles shall have tape embedded in joint compound and shall be immediately wiped with a joint knife leaving a thin coating of joint compound over all joints and interior angles. One additional coat of joint compound shall be applied over all joints and interior angles. Fastener heads and accessories shall be covered with two separate coats of joint compound. All joint compound shall be smooth and free of tool marks and ridges.

- Concrete:

- New concrete must cure for at least 28 days at 70°F (21°C), and have been free from water for at least 7 days.

- Concrete hydrostatic, capillary or moisture pressure must be no greater than 3.0 lbs./1000 sf/24 hours (ASTM F1869).

- The relative humidity (RH) shall not exceed 75% (ASTM F2170).

- Older wall surfaces such as ceramic tile should be abraded with a handheld diamond grinder and thoroughly cleaned.

- Existing coatings shall be removed with a handheld diamond grinder and thoroughly cleaned.

  - INSTALLATION

- All applicators and all other personnel in the area of the installation shall take all required and necessary safety precautions as listed on the Safety Data Sheet of each product being used. Download the SDS sheets at everlastsds.com

- Review the detailed instructions and videos found at www.everlastepoxy.com/how-to-install-epoxy-floors/ before beginning installation. Apply cove and wall coating in accordance with Everlast Epoxy's instructions.

- Mix multi-component materials in accordance with Everlast Epoxy’s instructions.

- Apply Everlast Stay-Clean Sealant (and anti-skid, if required).

- Upon completion of the Work, clean up and remove from the premises surplus materials, tools, appliances, empty cans, cartons and rubbish resulting from the epoxy installation. Clean off all spatters and drippings, and all resulting stains.

  - TOLERANCES

- Everlast Integral Cove and Wall is a wall coating that follows the contour of the substrate.

- Everlast Integral Cove and Wall is hand troweled so each project is a work of art and will contain some evidence of being hand crafted in the form of trowel beauty marks.

  - PROTECTION

    - Protect finished installation during construction.

    - Erect suitable barriers and post legible signs at points of entry to prevent traffic and trades from entering the work area during application and curing period.

    - Do not permit traffic over finished floor or other work on wall surfaces for 24 hours.

END OF SECTION