Everlast Epoxy is dedicated to creating and providing the healthiest, most durable and easiest-to-maintain floors for commercial facilities.

Everlast® Pro Floor is recommended for commercial and industrial shop floors such as auto service centers, aircraft hangers, and industrial shops because it is durable and chemical resistant.

Clean room floors and laboratories because it creates a seamless and easy-to-clean floor.

Health care facilities such as acute care, ambulatory care, behavioral health, medical office buildings, biotech laboratories, and pharmaceutical labs because it creates a safe, hygienic floor that does not trap in dirt and grime.

Retail such as waiting rooms, lobbies, and showrooms because it’s a cost effective and attractive alternative to conventional terrazzo and it’s a safer and healthier alternative to luxury sheet floor.

Front-of-House cafeterias and dining rooms because it’s easy to keep clean and is resistant to wear.

Shop | Industrial | Automotive | Apparatus Bay Tired of concrete floors that soak up every drop of oil and grease, getting smellier and grimier each week? Everlast Pro Floor turns that dirt magnet into a clean, professional surface that actually looks good.

Specifically formulated to resist petroleum products and impact damage, while preventing concrete dusting that clogs equipment. Plus, it reflects light instead of absorbing it, making your whole space brighter.

Warehouses because it is part of a cost-effective way to create a long lasting and durable floor that can withstand heavy equipment and high traffic in industrial facilities.

But don't just take our word for it, hear from our customers at:

www.youtube.com/playlist?list=PLUzAbcqEZwCsjWb4oanAbAYlinC-exQ2a

Contact us: Everlast Epoxy Systems, Inc.

Write or Visit: 803 S Garden Street Ste 301, Columbia, TN 38401

Call: (615) 994-1510

Fax: (615) 994-1512

Email: care@everlastepoxy.com

Schedule an AIA approved continuing education course:

www.everlastepoxy.com/architect-designer-specifications/

Or visit us online at: www.everlastepoxy.com

SECTION 09 67 23 - RESINOUS QUARTZ FLOORING

Everlast® Pro Floor with Color Quartz

Part 1 General

  - SECTION INCLUDES

- Everlast® Pro Floor with Color Quartz resinous epoxy flooring system; 125 mils (1/8”) double broadcast standard texture with polyaspartic topcoat.

- Integral Cove Base.

- RELATED SECTIONS:

Specifier Note: Reference to the relevant CAD drawings in these related sections. Common and often missed details are:

The relevant floor drains architectural details to be referenced in both Section 03 Concrete and Section 22 Plumbing

- Other Division 9 sections for floor and/or wall finishes are related to this section but not the work of this section

- Division 3 - Concrete; not the work of this section

- Division 7 - Thermal and Moisture Protection; not the work of this section

- Division 22 - Plumbing; not the work of this section

Specifier Note: If concrete grinding is needed for substrate preparation and the project is a build-out commencing while the HVAC system is running, specify construction filters for use during the floor preparation phase.

- Division 23 - Heating, Ventilating, and Air Conditioning (HVAC); not the work of this section

  - SUBMITTALS

Specifier Note: Revise paragraph below to suit project requirements.

- Submit under provisions of Section 01300.

- Product Data: Manufacturer's data sheets on each product to be used, including:

  - Preparation instructions and recommendations.

  - Storage and handling requirements and recommendations.

  - Installation methods.

- Selection Samples: For each finish product specified, submit two samples 2 by 3 inches in size

illustrating color, chip size and variation, and matrix color.

- Verification Samples: For each finish product specified, submit two samples 2 by 3 inches in size in color, chip size and variation, and matrix color, representing actual product scheduled.

- Closeout Submittals: Submit the including:

  - Maintenance Guidelines: Include the Everlast Epoxy Floor Cleaning Procedures available at www.everlastepoxy.com/clean.

  - Warranty: Warranty documents specified herein

  - QUALITY ASSURANCE

    - No request for substitution shall be considered that would change the specific type of floor system specified i.e. Everlast® Pro Floor with Color Quartz which is a commercial and industrial flooring system consisting of 2 full double broadcasts into an epoxy primer and an epoxy binder and a polyaspartic topcoat. (One-Day or fast curing primers are not acceptable as they do not adhere well to concrete). Equivalent materials of other manufacturers may be substituted only with approval of Architect. Request for substitution will only be considered if submitted 10 days prior to bid date. The request will be subject to product specification requirements and the manufacturer’s warranty described in this section.

    - System shall not exceed the Volatile Organic Compound (VOC) limits per the Architectural Coating Rules set by the State of California.

    - Installer Qualifications: Installation shall be performed by an applicator who is certified in writing by the manufacturer. The Contractor shall furnish a certified installer certificate.

    - Pre-Application Meeting: Convene a pre-application meeting before the start of application of the floor coating system to verify project requirements, substrate conditions, work area protection, manufacturer’s installation instructions and the cleaning and maintenance guidelines for the finished project. Require attendance of parties directly affecting the work of this section, including the Contractor and Applicator.

  - DELIVERY, STORAGE, AND HANDLING

- Deliver materials to site in manufacturer's original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

- Store materials in accordance with the manufacturer's instructions.

  - Store materials in dry, enclosed area with adequate protection from moisture.

  - Keep containers sealed until ready for use.

- Storage Temperature: Store between 65° F and 90° F

  - PROJECT CONDITIONS

- Roof shall be completed and building enclosed prior to flooring commencement.

- Ensure adequate ventilation and air flow.

- Maintain substrate temperature range of between 60° F and 85° F 48 hours before, during, and 72 hours after installation of flooring.

- Maintain constant ambient room temperature of plus or minus 15ºF with a minimum temperature of 60ºF and maximum temperature of 90ºF. Maintain constant ambient room temperature for 48 hours before, during, and 72 hours after installation, or until cured.

- Ventilate area where flooring is being installed. Post and enforce NO SMOKING or OPEN FLAME signs until flooring has cured.

- All concrete should be tested for moisture before applying a seamless coating. If moisture emissions exceed 3.0 lbs. / 1000 sf / 24 hours (ASTM F1869) or if the relative humidity (RH) exceeds 75% (ASTM F2170) install a moisture vapor barrier primer prior to installing the floor.

- Provide permanent lighting or, if permanent lighting is not in place, simulate permanent lighting conditions during resinous flooring application.

- Prohibit traffic from area where flooring is being installed and for not less than 24 hours after application.

  - WARRANTY

- Manufacturer shall furnish a written warranty covering the material for a period of 2 years from date of installation, and the applicator shall provide a written warranty covering the workmanship for a period of 1 year from date of installation.

Part 2 Products

  - MANUFACTURERS

- Epoxy primer, epoxy binder, and polyaspartic topcoat manufacturer: Everlast Epoxy Systems, Inc., which is located at: 803 S Garden Street Ste 301; Columbia, TN 38401; Tel: (615) 994-1510; Fax: (615) 994-1512; Email: care@everlastepoxy.com; Web: www.everlastepoxy.com

- Color Quartz manufacturer: Torginol, Inc., which is located at: 4617 S. Taylor Drive, Sheboygan , WI 53081; Tel: (920) 694-4800, Email: service@torginol.com; Web:

- Substitutions: Not permitted.

  - MATERIALS

- EEFL011 Everlast® Hi-Grip Primer

- EEFL009 Everlast® Pro Floor Build Coat

Specifier Note: Input color selection below, select a solid color at https://torginol.com/products/quartz/q-solids or a color blend at https://torginol.com/products/quartz/q-blends

- Torginol Color Resin Quartz 40-S Broadcast Grade; Color: ____________________________________

- EEFL007 Everlast Integral Cove & Wall (if cove base is desired).

- EUPC0888X Pro Floor Polyaspartic Topcoat

- EPF-W050 White Aluminum Oxide, 50 Grit (if additional slip resistance is needed)

Specifier Note: Below are some preparation products that could be needed depending on the condition of the substrate.

- Moisture Vapor Primer

- EEPR0080 Water Based Epoxy moderate Moisture Control Primer (can help control moisture

vapor emission rates up to 9 lb/24hr/1000 ft2)

- EEPR0818 Moisture Vapor Primer (can help control moisture vapor emission rates up to 20

lb/24hr/1000 ft2)

- Crack Suppressant

      - EEPR0278 Flexible Broadcast Primer

Specifier Note: If joints are to be cut and filled to allow for movement in the concrete slab, contact https://metzgermcguire.com/ for specifications.

- Joint Sealant

- Retail / Commercial Joint Filler: Spal-Pro RS 65 by Metzger McGuire

- Industrial Joint Filler: Spal-Pro RS 88 by Metzger McGuire

Part 3 Execution

  - EXAMINATION

    - Do not begin installation until substrates have been properly prepared or if the site conditions are outside of the following environmental ranges.

- All test results shall be documented and retained. Beginning work constitutes acceptance of substrate and environmental conditions.

- Storage Temperature: Materials are to be stored at a temperature between 65° F and 90° F.

- Maintain minimum concrete surface temperature between 60ºand 85ºF.

- The substrate must be at least 5˚F (3˚C) above the Dew Point to reduce the risk of condensation, which may lead to adhesion failure or “blushing” on the floor finish. Be aware that the substrate temperature may be lower than the ambient temperature.

- Maintain constant ambient room temperature of plus or minus 15ºF with a minimum temperature of 60ºF and maximum temperature of 90ºF. Maintain constant ambient room temperature for 48 hours before, during and after installation, or until cured. Do not apply when the temperature is below 60ºF or while ambient and temperatures are rising.

- Relative humidity above 30% and below 75% for a minimum of 48 hours before, during, and after installation, or until cured. Surface temperature must be 5ºF above dew point.

- Verify that substrate is ready to receive work, and that sub-floor surface is clean, dry, and free of laitance, glaze, efflorescence, curing compounds, form-release agents, dust, dirt, grease, oil, and other incompatible contaminants.

- Concrete hydrostatic, capillary or moisture pressure must be no greater than 3.0 lbs./1000 sf/24 hours.

Substrates in contact with the ground must have a properly installed, functioning and effective vapor barrier to help prevent potential problems resulting from hydrostatic, capillary, or moisture vapor emission. Concrete must contain less than 3% moisture when tested per ASTM D1864.

- Avoid excessive dust and airborne contaminates. Protect work areas from excessive dust and airborne contaminates during coating application.

- Utilities, including electricity, water, HVAC, permanent lighting, and a jobsite trash dumpster to be supplied by General Contractor.

- All floor drains must be 2-piece commercial drains with a waterproofing flange.

    - Report conditions contrary to contract requirements that would prevent a proper installation and do not proceed with the installation until unsatisfactory conditions have been corrected.

  - PREPARATION

    - Substrate Requirements:

Specifier Note: If the substrate is wood, specify Everlast® Flex Floor instead.

Specifier Note: Many of these will not apply to every project.

- Flooring shall not be applied to sand-cement setting beds with a PSI lower than 2500.  Sand-cement beds shall be removed to structural concrete substrate and re-leveled/sloped as necessary to achieve grade and/or adequate drainage.

- Ensure that floor drains are set no higher than 1/8 inch above slab.

- Contractor to provide positive drainage at floor drains.

- FRP and any other wall finish should terminate with J-Molding or other trim at least 6 inches above finish floor.

- Gaps between wall sheathing and substrate shall be filled prior to flooring commencement per flooring manufacturer's requirements.

- Cracks and joints greater than 1/8 inch wide will need to be repaired and treated with the products listed in 2.2 of these specifications.

- Upper level rooms that have space below should be primed with EEPR0278 Flexible Broadcast Primer.

- The substrate shall be clean, dry and sound. Remove dust, laitance, grease, curing compounds, waxes, foreign particles and any previously applied potentially incompatible coatings by scarifying, chipping, wire brushing, or pressure washing. If pressure washing or any other liquid method is used for preparation, substrate should be fully rinsed, squeeze-dry mopped and allowed to completely dry. Acid etching is not allowed.

- Concrete:

- New concrete must cure for at least 28 days at 70°F (21°C), and have been free from water for at least 7 days.

- Older floors should be scarified and thoroughly cleaned. If badly cracked, crumbling, punky or deeply contaminated with oil or fat, a new concrete topping of proper thickness and strength should be installed. Swollen areas should be chipped out and any cracks, spalls, joints or other depressions filled with our underlayment.

- The concrete should be at least 2500 psi. Concrete hydrostatic, capillary or moisture pressure must be no greater than 3.0 lbs./1000 sf/24 hours (ASTM F1869).

- The relative humidity (RH) shall not exceed 75% (ASTM F2170).

- Prepare concrete to a profile equal to CSP 3 as specified by ICRI.

- Treat control joints and other substrate cracks to prevent cracks. Follow the joint filler manufacturer’s guidelines.

- Quarry / Ceramic Tile: Tile and grout shall be thoroughly cleaned. Loose tile shall be removed and filled in with underlayment. Surface of the tile shall be scratched with a diamond grinder to remove the glaze.

.

  - INSTALLATION - FLOORING

- All applicators and all other personnel in the area of the installation shall take all required and necessary safety precautions as listed on the Safety Data Sheet of each product being used. Download the SDS sheets at everlastsds.com

- Review the detailed instructions and videos found at www.everlastepoxy.com/how-to-install-epoxy-floors/ before beginning installation. Apply flooring in accordance with Everlast Epoxy's instructions.

- Key in all drains, edges, and transition points as necessary.

- If the concrete is touching the drain, break out the concrete 1” deep around the drain and clean the drain so that the metal is exposed then fill gap with Fill with EEMS0240 Acid Resistant Epoxy Mortar Patch/Resurfacer. Plug drain prior to filler to prevent blockage

- Mix multi-component materials in accordance with Everlast Epoxy’s instructions.

- Prime with EEFL011 Everlast® Hi-Grip Primer and a full broadcast color quartz.

- Provide base and cove at vertical surfaces

- Apply a seed coat of EEFL009 Everlast® Pro Floor with another full broadcast of color quartz

- Apply EUPC0888X Pro Floor Polyaspartic Topcoat (and anti-skid, if required).

- Saw cut the finished floor at expansion joints in concrete slab.  Fill saw cuts with a joint filler suitable for the use of the facility and the type of expansion joint. Follow the joint filler manufacturer’s written recommendations.

- Upon completion of the work, clean up and remove from the premises surplus materials, tools, appliances, empty cans, cartons and rubbish resulting from the floor installation. Clean off all spatters and drippings, and all resulting stains.

  - TOLERANCES

- Everlast Pro Floor is a floor coating that follows the contour of the substrate, it does not alter the slope of the floor. Tolerances and slope to drains are covered in more detail in Division 03 Concrete; not the work of this section

  - PROTECTION

    - Erect suitable barriers and post legible signs at points of entry to prevent traffic and trades from entering the work area during application and cure period of the floor.

    - Do not permit traffic over finished floor surfaces for 24 hours.

    - General contractor to protect finished flooring installation during the remainder of the construction.

  - CLEANING AND MAINTENANCE

    - Affix an Everlast Epoxy Floor Cleaning Poster to the wall at or near the mop sink area or designated cleaning supplies area.

    - Everlast® Floor Cleaning Guidelines

      - Sweep or vacuum any loose dirt or debris from the surface.

- Cover your floor with a dilution of Everlast Floor Care Cleaner Concentrate (or Safe Care SC 1000 Concentrate). Use at least a 5% dilution (6.4 ounces of the concentrate mixed with water makes a gallon of properly diluted cleaner). Use at least 400 square feet per gallon for floors.

- Agitate the entire cove base with a deck brush.

- Agitate the floor with a deck brush or a floor scrubber cleaning machine.

- Extract or push the soil and excess cleaner into the drains.

- Rinse the floor with clean water to remove any excess floor cleaner (or other cleaners) and extract or push it into the drains.

END OF SECTION